## Gage R&R Report
Timestamp | Board ID | Measurements | Conditions | Trials | Repeatability | Reproducibility | %GR&R | Status | NDC | Cohen's Kappa | Recommendation
2026-07-31 11:22:39 | PCB-001 | 90 | 3 | 3 | 5.6e-05 | 0.000247 | 7.14 | Excellent | 19 | 0.9778 | Measurement system is highly reliable.
2026-07-31 11:25:31 | PCB-002 | 90 | 3 | 3 | 5.6e-05 | 0.000247 | 7.14 | Excellent | 19 | 0.9778 | Measurement system is highly reliable.
2026-07-31 11:26:03 | PCB-003 | 90 | 3 | 3 | 5.6e-05 | 0.000247 | 7.14 | Excellent | 19 | 0.9778 | Measurement system is highly reliable.
2026-07-31 11:26:11 | PCB-004 | 90 | 3 | 3 | 5.6e-05 | 0.000247 | 7.14 | Excellent | 19 | 0.9778 | Measurement system is highly reliable.
2026-07-31 11:26:43 | PCB-005 | 90 | 3 | 3 | 5.6e-05 | 0.000247 | 7.14 | Excellent | 19 | 0.9778 | Measurement system is highly reliable.
2026-07-31 11:27:43 | PCB-006 | 90 | 3 | 3 | 5.6e-05 | 0.000247 | 7.14 | Excellent | 19 | 0.9778 | Measurement system is highly reliable.
2026-07-31 11:27:46 | PCB-007 | 90 | 3 | 3 | 5.6e-05 | 0.000247 | 7.14 | Excellent | 19 | 0.9778 | Measurement system is highly reliable.
2026-07-31 11:28:12 | PCB-008 | 90 | 3 | 3 | 3.7e-05 | 0.000116 | 3.34 | Excellent | 40 | 1 | Measurement system is highly reliable.
2026-07-31 11:28:16 | PCB-009 | 90 | 3 | 3 | 2.9e-05 | 5.2e-05 | 2.45 | Excellent | 54 | 1 | Measurement system is highly reliable.
2026-07-31 11:33:28 | PCB-010 | 90 | 3 | 3 | 4.7e-05 | 0.000163 | 3.9 | Excellent | 35 | 0.9778 | Measurement system is highly reliable.
2026-07-31 11:34:08 | PCB-011 | 90 | 3 | 3 | 6.9e-05 | 0.000214 | 4.58 | Excellent | 30 | 1 | Measurement system is highly reliable.
2026-07-31 11:36:01 | PCB-012 | 90 | 3 | 3 | 3.3e-05 | 4.5e-05 | 2.41 | Excellent | 55 | 1 | Measurement system is highly reliable.
2026-08-20 09:40:17 | PCB-013 | 90 | 3 | 3 | 4.1e-05 | 8.2e-05 | 4.02 | Excellent | 33 | 1 | Measurement system is highly reliable.
2026-08-20 09:47:18 | PCB-014 | 90 | 3 | 3 | 2.2e-05 | 0.000202 | 43.57 | Needs Improvement | 2 | 1 | Calibration required.
2026-08-20 11:03:02 | PCB-015 | 90 | 3 | 3 | 2.2e-05 | 4.1e-05 | 11.24 | Acceptable | 11 | 1 | Suitable for production.
2026-08-20 11:05:42 | PCB-016 | 90 | 3 | 3 | 1.9e-05 | 0.00022 | 21.19 | Acceptable | 6 | 0.9778 | Suitable for production.
2026-08-20 12:03:58 | PCB-017 | 90 | 3 | 3 | 3.1e-05 | 0.000191 | 19.53 | Acceptable | 6 | 0.9778 | Suitable for production.
2026-08-24 15:01:34 | PCB-018 | 90 | 3 | 3 | 6.8e-05 | 3.4e-05 | 16.03 | Acceptable | 8 | 1 | Suitable for production.
2026-08-25 14:56:03 | PCB-019 | 90 | 3 | 3 | 7e-05 | 0.000152 | 23.65 | Acceptable | 5 | 1 | Suitable for production.